VOLUME 4.3

FINANCIAL OFFER TEMPLATES

UNIT PRICE CONTRACTS

Content

4.3.1 — Introduction

4.3.2 — Bill of quantities

4.3.3 — Price schedule

4.3.5 — Detailed breakdown of prices

VOLUME 4.3.1 — INTRODUCTION

1. 	General

1.1	The bill of quantities (Volume 4.3.2) is the document containing an itemised breakdown of the works to be carried out in a unit price contract, indicating a quantity for each item and the corresponding unit price. The quantities set out in the bill of quantities are estimated quantities. Each price for each item of the bill of quantities is detailed in the price schedule (Volume 4.3.3).

The amounts due will be calculated by measuring the actual quantities of the works executed and by applying the unit rates to the quantities actually executed for each item.

1.2	The detailed breakdown of prices (Volume 4.3.5) is the list containing the basic costs, net costs and mark-ups from which each price on the bill of quantities and the price schedule and on the daywork schedule results.

The detailed breakdown of prices provides the coefficients for applying the price revision formula referred to in Article 48.2 of the special conditions and can provide the basis for valuation of additional work ordered referred to in Article 37.5 of the general conditions.

2.	Specific to Volumes 4.3.2 and 4.3.3

2.1	The prices inserted in the bill of quantities and price schedule are to be the full inclusive values of the works described under the items, including all costs and expenses that may be required in and for the construction of the works described, together with any temporary works and installations which may be necessary and all general risks, liabilities and obligations specified or implied in the documents on which the tender is based. It will be assumed that establishment charges, profit and allowances for all obligations are spread evenly over all unit rates.

2.2	Save where the technical specifications or the bill of quantities and the price schedule specifically and expressly state otherwise, only permanent works are to be measured.

2.3	No allowance will be made for loss of materials or volume thereof during transport or compaction.

2.4	The prices of the bill of quantities, price schedule and daily work schedule are all-inclusive and include any non-exonerated tax or fiscal duty.

2.5	The unit prices in Volume 4.3.2 is obtained by multiplying the net cost of Volume 4.3.5 - Table D, on the one hand, with the coefficient K, on the other hand.

The coefficient K represents the proportions between the Site costs (Fc) of Volume 4.3.5 - Table E and the Total net costs (Ps) and between the General costs (Fg) of Volume 4.3.5 - Table F and the Contract price (Pv): K = (1+A)/(1-B) whereby

A= Fc/Ps

B =Fg/Pv

2.5	The units of measurement used in the annexed technical documentation are those of the International System of Units (SI). No other units may be used for measurements, pricing, detail drawings etc. (Any units not mentioned in the technical documentation must also be expressed in terms of the SI.) Abbreviations used in the bill of quantities are to be interpreted as follows:

mm	means	millimetre

m	means	metre

mm²	means	square millimetre

m²	means	square metre

m³	means	cubic metre

kg	means	kilogram

to	means	tonne (1000 kg)

pcs	means	pieces

h	means	hour

L.s.	means	Lump sum

km	means	kilometre

l	means	litre

%	means	per cent

N.d	means	nominal diameter

m/m	means 	man-month

m/d	means 	man-day

VOLUME 4.3.2 — BILL OF QUANTITIES

| PRICE No | TITLE | UNIT | UNIT PRICE | ESTIMATED QUANTITIES | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| (a) | (b) | (c) | (d) | (e) | (f = d * e) |
| - CONSTRUCTION AND INSTALLATION WORKS I.1. SURVEYING WORKS |  |  |  |  |  |
| 1 | Geodetic surveying and marking of the projected ground of the park with lateral extraction of Nivelman points in the places where excavations and embankments are planned | point |  | 148.00 |  |
| Total |  |  |  |  |  |
| I.2. EARTH AFFAIRS |  |  |  |  |  |
| 1 | Mechanical planning and leveling of the ground of the park with excavation and embankment up to 30 cm deep. with a big machine (Bulldozer) | m² |  | 25,399.00 |  |
| 2 | Mechanical excavation of category III soil for the purpose of forming a profile of an amphitheater in a depth of up to 100 cm. by storing the excavated material nearby. (the soil material will be used to make an embankment). | m³ |  | 422.33 |  |
| 3 | Procurement, loading, transportation and unloading of large crushed stone with a grain size of 60 cm. up to 100 cm. by spreading along the bottom of an embankment in order to stabilize the terrain | m³ |  | 1,084.00 |  |
| 4 | Loading, transport, unloading and spreading with compaction in layers of max. 20 cm. by achieving the necessary compaction material from the excavation for shaping the slopes of the amphitheater. | m³ |  | 422.33 |  |
| 5 | Excavation, loading, transport, unloading and spreading with compaction in layers of max. 20 cm. by achieving the necessary compaction up to 85% of Y opt of river gravel material from a local loan for the construction of field embankments, a spiral lookout and an amphitheater | m³ |  | 2,289.33 |  |
| 6 | Procurement, loading, transport, unloading and spreading by compacting in layers of max. 20 cm. by achieving the necessary compaction up to 95% of Y opt of river gravel material from a local loan for making a buffer layer of d=20 cm. along the bottom of the pedestrian areas. | m³ |  | 923.45 |  |
| 7 | Excavation, loading, transport, unloading and spreading by compacting earth material from a local borrow at a distance of up to 5 km. for making a final layer of terrain, a spiral lookout and an amphitheater in preparation for greening. | m³ |  | 406.83 |  |
| Total |  |  |  |  |  |
| I.3. CONSTRUCTION WORKS |  |  |  |  |  |
| 1 | Procurement, transportation and installation of stainless steel metal curbs with a height of 10 cm. and anchored to a depth of 40 cm. with metal anchors every 100 cm. | m¹ |  | 1,996.18 |  |
| 2 | Procurement, transport and installation of geotextile on a compacted base of crushed stone. | m² |  | 4,986.61 |  |
| 3 | Procurement, transportation and installation of a plastic grid for stabilizing gravel pits on geotextiles and a compacted base of crushed stone. | m² |  | 4,617.23 |  |
| 4 | Procurement, transport and installation with compaction of gravel bedrock with a grain size of 0 mm. up to 8 mm. as a base for pedestrian areas | m³ |  | 461.72 |  |
| 5 | Procurement, transportation of materials and construction of wall "1" L=16 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 6 | Procurement, transportation of materials and construction of wall "2" L=12,8 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 7 | Procurement, transportation of materials and construction of wall "3" L=16 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 8 | Procurement, transportation of materials and construction of wall "4" L=20 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 9 | Procurement, transportation of materials and construction of wall "5" L=18 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 10 | Procurement, transportation of materials and construction of wall "6" L=21 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 11 | Procurement, transportation of materials and construction of wall "7" L=16 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 12 | Procurement, transportation of materials and construction of wall "8" L=15 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 13 | Procurement, transportation of materials and construction of wall "9" L=16 m. with a semicircular shape of river stone in different colors and iron wire intertwined with plants - creepers and a wooden board. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 14 | Procurement, transportation of materials and production of a combined element in the form of a seat from an auditorium type "1" L=18.8 m. with a rounded shape made of river stone placed in gabions of galvanized wire and shaped benches from re-used wooden beams. (to be made in full according to the technical details). | piece |  | 2.00 |  |
| 15 | Procurement, transportation of materials and production of a combined element in the form of a seat from an auditorium type "2" L=17.4 m. with a rounded shape made of river stone placed in gabions of galvanized wire and shaped benches from re-used wooden beams. (to be made in full according to the technical details). | piece |  | 3.00 |  |
| 16 | Procurement, transportation of materials and production of a combined element in the form of a seat from an auditorium type "3" L=16.0 m. with a rounded shape made of river stone placed in gabions of galvanized wire and shaped benches from re-used wooden beams. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 17 | Procurement, transportation of materials and production of a combined element in the form of a seat from an auditorium type "4" L=19,8 m. with a rounded shape made of river stone placed in gabions of galvanized wire and shaped benches from re-used wooden beams. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 18 | Procurement, transportation of materials and production of a combined element in the form of a seat from an auditorium type "5" L=15,7 m. with a rounded shape made of river stone placed in gabions of galvanized wire and shaped benches from re-used wooden beams. (to be made in full according to the technical details). | piece |  | 1.00 |  |
| 19 | Procurement, transportation of materials and production of a combined element made of stone, mesh and wood in the form of a bench with planters type "1". with a rounded shape made of river stone placed in gabions of galvanized wire and shaped benches from re-used wooden beams. (to be made in full according to the technical details). | piece |  | 6.00 |  |
| 20 | Procurement, transportation of materials and production of a combined element made of stone, mesh and wood in the form of a bench with planters type "2". with a interrupted shape made of river stone placed in gabions of galvanized wire and shaped benches from re-used wooden beams. (to be made in full according to the technical details). | piece |  | 2.00 |  |
| 21 | Procurement and installation of a single park bench with backrest made according to a given drawing type"1" | piece |  | 18.00 |  |
| 22 | Procurement and installation of a double park bench with backrest made according to a given drawing type"2" | piece |  | 4.00 |  |
| 23 | Procurement of wooden logs of different heights, processing and assembly according to a given drawing to form a corner for play and conversation for children and parents | piece |  | 4.00 |  |
| 24 | Procurement, transportation and installation of waste baskets made of metal profiles and wood according to a given drawing | piece |  | 28.00 |  |
| Total |  |  |  |  |  |
| - CONSTRUCTION AND INSTALLATION WORKS II.1. HORTICULTURAL LANDSCAPING WORKS |  |  |  |  |  |
| 1 | Procurement, transport and planting of FRAXINUS EXCELSIOR ALTENA trunks with a minimum height of 300-350 cm, trunk circumference 18-20 cm. Laterally stabilized for wind protection. | piece |  | 14.00 |  |
| 2 | Procurement, transport and planting of FRAXINUS ANGUSTIFOLIA RAYWOOD trunks with a minimum height of 250-300 cm, trunk circumference 14-16 cm. Laterally stabilized for wind protection. | piece |  | 14.00 |  |
| 3 | Procurement, transport and planting of ACER SACCHARINUM trunks with a minimum height of 200-250 cm, trunk circumference 14-16 cm. Laterally stabilized for wind protection. | piece |  | 18.00 |  |
| 4 | Procurement, transport and planting of AESCULUS HIPPOCASTANUM trunks with a minimum height of 200-250 cm, trunk circumference 14-16 cm. Laterally stabilized for wind protection. | piece |  | 18.00 |  |
| 5 | Procurement, transport and planting of ACER CAMPESTRE trunks with a minimum height of 150-200 cm, trunk circumference 10-12 cm. Laterally stabilized for wind protection. | piece |  | 16.00 |  |
| 6 | Procurement, transport and planting of TILIA SPP trunks with a minimum height of 300-350 cm, trunk circumference 18-20 cm. Laterally stabilized for wind protection. | piece |  | 14.00 |  |
| 7 | Procurement, transport and planting of ACER PALMATUM BLOODGOOD C65 H170/180 trunks with a minimum height of 150 cm, trunk circumference 8-10 cm. Laterally stabilized for wind protection. | piece |  | 8.00 |  |
| 8 | Procurement, transport and planting of BETULA ALBA trunks with a minimum height of 150 cm, trunk circumference 8-10 cm. Laterally stabilized for wind protection. | piece |  | 18.00 |  |
| 9 | Procurement, transport and planting of CATALPA BIGNONIOIDES trunks with a minimum height of 150 cm, trunk circumference 8-10 cm. Laterally stabilized for wind protection. | piece |  | 16.00 |  |
| 10 | Procurement, transportation, and planting of bushy seedlings of GAURA LINDHEIMERI with a minimum height of 40 cm | piece |  | 22.00 |  |
| 11 | Procurement, transportation, and planting of bushy seedlings of BUDDLEJA DAVIDII FREE with a minimum height of 30 cm. | piece |  | 24.00 |  |
| 12 | Procurement, transportation, and planting of bushy seedlings of BUDDLEJA DAVIDII FREE PETITE with a minimum height of 20 cm. | piece |  | 42.00 |  |
| 13 | Procurement, transportation, and planting of bushy seedlings of Spirea Gouldmound with a minimum height of 40 cm | piece |  | 22.00 |  |
| 14 | Procurement, transportation, and planting of bushy seedlings of ELEAGNUS EBBINGEI with a minimum height of 40 cm | piece |  | 18.00 |  |
| 15 | Procurement, transportation, and planting of bushy seedlings of ELEAGNUS X EBBINGEI GILT EDGE with a minimum height of 40 cm. | piece |  | 18.00 |  |
| 16 | Procurement, transportation, and planting of bushy seedlings of ABELIA GRANDIFLORA EDEWARD GAUCHER/LUCKY LOTS with a minimum height of 40 cm. | piece |  | 16.00 |  |
| 17 | Procurement, transportation, and planting of bushy seedlings of ESCALONIA RUBRA RED DREAM with a minimum height of 40 cm. | piece |  | 16.00 |  |
| 18 | Procurement, transportation, and planting of bushy seedlings of HIBISCUS SYRIACUS with a minimum height of 40 cm. | piece |  | 18.00 |  |
| 19 | Procurement, transportation, and planting of bushy seedlings of VIBURNUM LUCIDUM with a minimum height of 40 cm. | piece |  | 830.00 |  |
| 20 | Procurement, transportation, and planting of bushy seedlings of CUPRESOCIPARIS LEYLANDII with a height of 100 cm | piece |  | 300.00 |  |
| 21 | Preparation of the land surface, deep plowing, cultivation, planning with compaction and leveling with humus soil in a layer of 10 cm. Procurement of seeds and weeding. | m² |  | 20,781.77 |  |
| Total |  |  |  |  |  |
| II.1. HORTICULTURAL LANDSCAPING WORKS: III.1. PARK LIGHTING |  |  |  |  |  |
| 1 | Excavation of a trench with backfilling of soil III I IV category of soil with trench dimensions of 30 x 80 cm. together with backfilling and returning to its original position | m¹ |  | 992.00 |  |
| 2 | Procurement and installation of fine sand is sprinkled 10 cm before and 10 cm after laying the cable. | m³ |  | 29.76 |  |
| 3 | Metal pipe 100 mm. | m¹ |  | 5.00 |  |
| 4 | Procurement and laying of plastic shields (viniduit) over the top layer of the laid sand | m¹ |  | 992.00 |  |
| 5 | Procurement and installation of warning tape "BEWARE OF HIGH VOLTAGE" | m¹ |  | 992.00 |  |
| 6 | Procurement and laying of cable type PP 00-A (NAYY) 4 x 16 mm² 1 kV, in a dug trench, 10 cm above the laid sand. | m¹ |  | 1,049.00 |  |
| 7 | Procurement and laying of galvanized FeZn 20x3 tape in the same trench as the cable | m¹ |  | 1,106.00 |  |
| 8 | Procurement and installation of a pole with a height of H=4 m. hot-dip galvanized, equipped with junction boxes IR 54 with a transparent cover with two fuses and cables NYM 3X1.5 mm2. For the poles, a static calculation for a wind speed of 130 km/h and a horizontal deflection of max. 45 mm must be submitted. | No |  | 57.00 |  |
| 9 | Excavation of holes with the construction of foundations with dimensions 80x80x60 cm. together with formwork and concreting with concrete MB 30, together with a plastic pipe Ф50 mm for cable entry | No |  | 57.00 |  |
| 10 | Procurement, transportation and installation of anchors for the poles with all accompanying iron plates and a set of screws. | No |  | 57.00 |  |
| 11 | Procurement, transportation and installation of 60x60 cross connectors sealed with lead-plated iron boxes and connection of the poles | No |  | 57.00 |  |
| 12 | LED lamp with 90W source, 5000K, IR65, IR08, 10800 Im, 5 year warranty, dimensions 450x500 mm. | No |  | 57.00 |  |
| 13 | Distribution board RT IP54 consisting of: Switch 50 A, 3n, 36kA with trip coil 1 pc. Fuse-disconnector 10x38 1n fuse 10A 2 pcs. Fuse-disconnector 10x38 3n fuse 16A 1 pc.Fuse disconnector 10x38 3n fuse 20A 1 pc.Surge arrester 4n 1 pc. Mushroom button 1 pc. Contactor 16A 3n 230 V AC 1 pc. Astronomical clock 1 pc.Other auxiliary material according to documentation | No. |  | 1,00 |  |
| 14 | Earthing certificate - testing of protective earthing for each pole separately. | Lamp sum |  | 1,00 |  |
| 15 | Insulation resistance testing of power supplies | Lamp sum |  | 1,00 |  |
| Total |  |  |  |  |  |
| IV. PARK IRRIGATION |  |  |  |  |  |
| 1 | Marking the route | m |  | 1,906.56 |  |
| 2 | Mechanical excavation of a trench with a depth of up to 80 cm and a trench width of 30-40 cm. | m³ |  | 610.10 |  |
| 3 | Leveling the bottom of the trench | m² |  | 762.62 |  |
| 4 | Backfilling the trench with soil from the excavation by compacting in layers | m³ |  | 610.10 |  |
| Total |  |  |  |  |  |
| INSTALLATION WORKS |  |  |  |  |  |
| 1 | Procurement, transportation and installation of material required for the construction of the installation |  |  |  |  |
| 2 | PE pipe 110/10 bars | m |  | 316.56 |  |
| 3 | PE pipe 90/10 bars | m |  | 234.36 |  |
| 4 | PE pipe 63/10 bars | m |  | 203.88 |  |
| 5 | PE pipe 40/10 bars | m |  | 407.32 |  |
| 6 | PE pipe 32/10 bars | m |  | 90.73 |  |
| 7 | PE pipe 25/10 bars | m |  | 653.71 |  |
| 8 | Galvanized pipe 3" | m |  | 20 |  |
| 9 | Galvanized muff 3" | No |  | 5 |  |
| 10 | Galvanized elbow 3" | No |  | 8 |  |
| 11 | Galvanized Double nipple 3" | No |  | 27 |  |
| 12 | Dirt trap 3" | No |  | 1 |  |
| 13 | Non-return valve 3" | No |  | 1 |  |
| 14 | Galvanized T-steak 3" | No |  | 4 |  |
| 15 | Galvanized reducer 3"x2" | No |  | 1 |  |
| 16 | Galvanized reducer 2"x1" | No |  | 1 |  |
| 17 | Galvanized Hollander 3" | No |  | 6 |  |
| 18 | Membrane container 100 l | No |  | 1 |  |
| 19 | pressure maintainer | No |  | 1 |  |
| 20 | Manometer | No |  | 3 |  |
| 21 | Galvanized T-steak 3/4" | No |  | 1 |  |
| 22 | Galvanized reducer 3/4"x1/2" | No |  | 2 |  |
| 23 | Galvanized reducer 1/2"x1/4" | No |  | 2 |  |
| 24 | PP Pipe 32/20 bar | m |  | 3 |  |
| 25 | PE elbow adapter 32x1"w | No |  | 1 |  |
| 26 | PP adapter 32x1"m | No |  | 1 |  |
| 27 | PP Elbow 32/90 st | No |  | 4 |  |
| 28 | Ball valve 3" | No |  | 1 |  |
| 29 | Filter 3" | No |  | 1 |  |
| 30 | Galvanized darning 3" | No |  | 1 |  |
| 31 | Galvanized T-steak 3" | No |  | 2 |  |
| 32 | Galvanized Double nipple 3" | No |  | 4 |  |
| 33 | Ball valve 5/4" | No |  | 1 |  |
| 34 | PP adapter 90x3"w | No |  | 3 |  |
| 35 | Solenoid valve 3" | No |  | 5 |  |
| 36 | Controller Orbit PSP-4 | No |  | 1 |  |
| 37 | Jumbo manhole 14" | No |  | 2 |  |
| 38 | Galvanized reducer 4"x3" | No |  | 4 |  |
| 39 | PE adapter 32x1"w | No |  | 5 |  |
| 40 | PE elbow connector 110 | No |  | 5 |  |
| 41 | PE T-connector 110x100 | No |  | 5 |  |
| 42 | PE T-connector 90x40 | No |  | 1 |  |
| 43 | PE Reducer connector 110x90 | No |  | 4 |  |
| 44 | PE Reducer connector 110x63 | No |  | 1 |  |
| 45 | PE plug 40 | No |  | 7 |  |
| 46 | PE Reducer connector 90x63 | No |  | 4 |  |
| 47 | PE Reducer connector 63x40 | No |  | 5 |  |
| 48 | PE Reducer connector 40x32 | No |  | 3 |  |
| 49 | PE elbow connector 90 | No |  | 2 |  |
| 50 | PE elbow connector 63 | No |  | 2 |  |
| 51 | PE elbow connector 40 | No |  | 3 |  |
| 52 | PE Strap 110x1" | No |  | 1 |  |
| 53 | PE Strap 110x3/4" | No |  | 16 |  |
| 54 | PE Strap 90x3/4" | No |  | 15 |  |
| 55 | PE Strap 63x3/4" | No |  | 16 |  |
| 56 | PE Strap 40x3/4" | No |  | 13 |  |
| 57 | PE Strap 40x1" | No |  | 1 |  |
| 58 | PE Strap 63x1" | No |  | 1 |  |
| 59 | PE T-connector 32x25x32 | No |  | 6 |  |
| 60 | PE T-connector 110x110x110 | No |  | 1 |  |
| 61 | PE plug 32 | No |  | 3 |  |
| 62 | PE elbow adapter 32x1"m | No |  | 4 |  |
| 63 | PE elbow adapter 25x3/4"m | No |  | 124 |  |
| 64 | Sprinklers with rotor P=14.2m, 24 l/min | No |  | 61 |  |
| Total |  |  |  |  |  |
|  |  |  | TOTAL: |  |  |
|  |  |  | VAT 18%: |  |  |
|  |  |  | TOTAL WITH VAT: |  |  |

Note: the numbering of prices under (a) and titles under (b) correspond to the numbering in the price schedule

VOLUME 4.3.3 — PRICE SCHEDULE

| PRICE No …. <for example: PRICE No 201> Title: … <for example: EXCAVATE TOPSOIL WITHIN ROADWAY> |  |
| --- | --- |
| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. <for example: This price is for excavation of topsoil paid per square meter (m²) executed. Measurement is made horizontally. Excavation of topsoil is executed within the roadway. The price includes: - excavation of topsoil, loading, and transportation (all distance inclusive), unloading and disposal (provisory or definitive) in a place agreed with the engineer; - the cleaning of the existing ditches within the roadway - all other costs related to topsoil excavation. This price is per square meter of surface excavated. Measurement is performed contradictory>. |  |
| PRICE No … — TITLE: …. <for example: PRICE No 201 — EXCAVATE TOPSOIL WITHIN ROADWAY> |  |
| Price in words: <for example: per square meter: ….. GNF (Guinean Franc)> | Price in numbers: <for example: …. GNF (Guinean Franc)> |

| PRICE No …. <for example: PRICE No 202> Title: … |  |
| --- | --- |
| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. |  |
| PRICE No … — TITLE: …. |  |
| Price in words: | Price in numbers: |

Etc.

VOLUME 4.3.5 — DETAILED BREAKDOWN OF PRICES

A) Breakdown of the basic prices for labour 
(converted into local currency or €/hour)

| No | Qualification | Monthly pay (1) | Hourly pay (2) | Overtime (3) | Soc. security contributions (4) | Travel time (5) | Hourly total (6) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Labourer, Cat 1 |  |  |  |  |  |  |
| A2 | Skilled worker, Cat. 3 |  |  |  |  |  |  |
| A3 | Skilled worker, Cat. 5 |  |  |  |  |  |  |
| A4 | Foreman, Cat. 7 |  |  |  |  |  |  |
| A5 | Site manager |  |  |  |  |  |  |
| A6 | HGV driver |  |  |  |  |  |  |
| A7 | Heavy plant driver |  |  |  |  |  |  |
| A8 | Clerk of works |  |  |  |  |  |  |
| A9 | Mechanic, Cat. 7 |  |  |  |  |  |  |
| A9 | Land surveyor |  |  |  |  |  |  |
| A10 | Planning draughtsman |  |  |  |  |  |  |
| A11 | … |  |  |  |  |  |  |

The above list is given by way of example and is not exhaustive.

- Salary if the employee is paid monthly.

- Hourly pay if the employee is paid hourly, otherwise monthly salary divided by the legal working hours (… hours/month).

- Average cost of overtime, i.e. hourly pay times the overtime coefficient.

Average coefficient to be applied to the salary to take account of overtime......... (= total gross salary/gross salary without overtime).

- Percentage of the social security contributions (including social welfare, leave, etc.) times the gross salary (this percentage may vary according to the category of employee).

- Average monthly or daily travel time divided by the number of daily or monthly legal working hours.

(6)	= (2) + (3) + (4) + (5).

Done at …………………………………

The tenderer (signature)

B) Breakdown of basic supply prices for materials and consumables
(in local currency or €/unit)

| No | Description | Unit | Origin (1) | Unit price origin (2) | Transport to site (3) | Tax, duties and other charges (4) | Losses |  | Total (6) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | % | Value (5) |  |
| C1 | Gasoil | L |  |  |  |  |  |  |  |
| C2 | Aggregates for concrete | m3 |  |  |  |  |  |  |  |
| C3 | Sand for concrete 2/4 | m3 |  |  |  |  |  |  |  |
| C4 | Cement | T |  |  |  |  |  |  |  |
| C5 | Steel for reinforced concrete | Kg |  |  |  |  |  |  |  |
| C6 | Annealed wire | Kg |  |  |  |  |  |  |  |
| C7 | Timber formwork | m2 |  |  |  |  |  |  |  |
| C8 | Plywood | m2 |  |  |  |  |  |  |  |
| C9 | Plasticisers | Kg |  |  |  |  |  |  |  |
| C10 | Concrete coating | Kg |  |  |  |  |  |  |  |
| C11 | Asphalt concrete | T |  |  |  |  |  |  |  |
| C13 | Inspection ladders | U |  |  |  |  |  |  |  |
| C14 | Fencing | ml |  |  |  |  |  |  |  |
| C15 | Traffic signs | U |  |  |  |  |  |  |  |
| C16 | … |  |  |  |  |  |  |  |  |

This list is not exhaustive.

- Geographical location of the supplier or quarry.

- Supply or cost price at the quarry or on delivery in the country.

- Cost price of transport from the quarry or delivery in the country to the site.

- To be borne by the firm.

- Any losses or breakages to be determined by the tenderer.

- Basic prices for supply of materials: (6) = (2) + (3) + (4) + (5).

Done at ………………………………

The tenderer (signature)

C) Breakdown of basic hourly prices for equipment 
(in local currency or €/hour)

| No | Description | Purchase date of equipment | Replacement value (RV) (1) | Duties Taxes (2) | RV + taxes (3) | nb days useful life (4) | Depreciation /day (5) | Fuel cost/day (6) | Lubricant cost/day (7) | Spare parts (SP) cost /day (8) | Lubricant & SP taxes/day (9) | Labour cost/day (10) | Total /day (11) | Average daily working time (12) | Total /hour (13) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B1 | D8N bulldozer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B2 | 14G grader |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B3 | CAT-type crawler excavator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B4 | CAT wheeled excavator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B5 | Trencher type … |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B5 | Pump |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B6 | Concrete vibrating poker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B7 | … |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Estimated purchase price (excl. tax) of a piece of equipment of same kind, but new, purchased in the country’s capital at the end of machine life span.

- Duties and taxes charged to the contractor at the purchase date.

- = (1)+(2)

(4)	Number of depreciation years by number of days worked per year.

(5)	Daily depreciation = (3)/(4).

(6)	Average daily fuel consumption; the cost of the fuel is given with tax.

(7)	Daily cost of lubricants (excl. tax).

(8)	Daily cost of spare parts (excl. tax).

- Duties and taxes charged to the contractor on lubricants and spare parts.

- Manpower price (man/day).

- Daily basic prices of piece of equipment = (5)+(6)+(7)+(8)+(9)+(10)..

- Hours of operations (average).

- Hourly operational price of piece of equipment = (11)/(12)

Done at ………………………………….

The tenderer (signature)

D) Breakdown of unit prices in the price schedule
 (in local currency or €)

No of the unit price:	Output per day: m³/day

Designation of the unit price:

Estimated quantities:

| COMPONENTS OF THE PRICE EQUIPMENT, SUPPLIES AND SUBCONTRACTED WORKS DESIGNATION | Quantity or time using h/day (Q) | U | EQUIPMENT |  |  |  |  | LABOUR |  | TOTALS €/day |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | DEPRECIATION €/h (1) | MAINTENANCE €/h (2) | FUEL-LUBRICANTS €/h (3) | TOTAL €/day Qx(1+2+3) |  | Unit price | TOTAL €/day |  |
| EQUIPMENT |  | h |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
| MATERIALS |  |  |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
| LABOUR |  | h |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL €/day |  |  |  |  |  |  |
|  |  |  |  | Net cost €/m³ |  |  |  |  |  |  |

E) Detailed breakdown of site costs (Fc) 
(in local currency or €)

| Means deployed | Number (1) | Basic price (2) | Total net cost (3)=(1)+(2) |  |
| --- | --- | --- | --- | --- |
| Labour |  |  |  |  |
| A1 Site supervisor A2 Engineer A3 Clerk of works A4 Secretary A5 Drivers A6 Orderlies A7 |  |  |  |  |
| Subtotal labour |  |  |  |  |
| Equipment |  |  |  |  |
| B1 4x4 vehicle B2 Saloon car B3 Van-type people carrier B4… |  |  |  |  |
| Subtotal equipment |  |  |  |  |
| Materials |  |  |  |  |
| C1 Gasoil C2… |  |  |  |  |
| Subtotal materials |  |  |  |  |
| Other |  |  |  |  |
| D1 Rentals D2 Telephone D3… |  |  |  |  |
| Subtotal other |  |  |  |  |
| GENERAL TOTAL |  |  |  |  |

F) Detailed breakdown of the general costs (Fg)
(general overheads and profits)

| No |  | % of the bid |
| --- | --- | --- |
| 1 | Financial charges |  |
| 2 | Insurance premiums |  |
| 3 | Guarantee costs |  |
| 4 | Price revision |  |
| 5 | Direct taxes |  |
| 6 | Other expenses |  |
| 7 | Penalties |  |
| 8 | Contingencies |  |
| 9 | Office and agency expenses |  |
| 10 | Net profits |  |
| 11 | Corporation taxes |  |
| GENERAL TOTAL |  |  |

1.	Financial charges are expenses incurred outside the production process (project start-up, overdrafts, etc.).

2.	Insurance is the insurance described in Article 16 of the general conditions for works contracts.

3.	Guarantee costs are the bank charges for issuing the guarantee (advance, performance, retention guarantee, etc.).

4.	Firms may or may not make provision under this heading, depending on their judgment concerning the quality of the price revision formula.

5.	This involves VAT in the country of works, customs duties on the imported materials, etc.

7.	If firms think there may be a delay in the works, they can take out cover against it.

8.	Contingencies here are related to uncertainties concerning tender documents, lack of knowledge of the country, etc.

9. 	General and administrative expenses are made up of firms’ fixed overheads such as accounts and quality control, management, various departments and office buildings and are common to all the firm’s works contracts. Agency expenses are expenses common to all the works in the agency’s area of responsibility.

11.	These are taxes paid in the country of the works or in the country where the firm has its place of business (for international companies).